## Fixture Inventory
Type | Description | Fixture Style | Voltage | Mounting | Lumens | CCT | Dimming | Max VA | E200 | Total
A1 | SPRING LATCHES, POST PAINTED STEEL HOUSING, FLUSH ALUM. MITERED CORNERED DOOR FRAME, GASKETED AND/OR WITH METAL LIGHT BAFFLES, DOOR CAN BE LATCHED FROM EITHER SIDE OF HOUSING | 2X4 LED LENSED TROFFER | 120/277 | LAY-IN GRID INVERTED TEE | LED 5000 LUM MIN | 4000K | DIMMING 0-10V (10%) | 50 VA | 48 | 48
A6 | POST PAINTED STEEL HOUSING | 2X4 LED VOLUMETRIC TROFFER | 120/277 | LAY-IN GRID INVERTED TEE | LED 5000 LUM MIN | 4000K | DIMMING 0-10V (10%) | 50 VA | 14 | 14
B1 | SPRING LATCHES, POST PAINTED STEEL HOUSING, FLUSH WHITE ALUM. MITERED CORNERED DOOR FRAME, GASKETED AND/OR WITH METAL LIGHT BAFFLES, DOOR CAN BE LATCHED FROM EITHER SIDE OF HOUSING | 2X2 LED LENSED TROFFER | 120/277 | LAY-IN GRID INVERTED TEE | LED 4000 LUM MIN | 4000K | DIMMING 0-10V (10%) | 30 VA | 4 | 4
B6 | SPRING LATCHES, POST PAINTED STEEL HOUSING, FLUSH WHITE ALUM. MITERED CORNERED DOOR FRAME, GASKETED | 2X2 LED VOLUMETRIC TROFFER | 120/277 | LAY-IN GRID INVERTED TEE | LED 4000 LUM MIN | 4000K | DIMMING 0-10V (10%) | 40 VA | 26 | 26
C4 | CYLINDER VANITY FIXTURE WITH BRUSHED NICKEL HOUSING | 24" VANITY SCONCE LED | 120/277 | WALL | LED 1300 LUM MIN | 4000K | DIMMING 0-10V (10%) | 20 VA | 1 | 1
D6 | PRE-PAINTED WHITE ALUMINUM HOUSING, PRE-WIRED J-BOX, TWO 27" HANGER BARS | 6" ROUND DOWNLIGHT | 120/277 | RECESSED GYP-BOARD AND/OR LAY-IN GRID INVERTED TEE | LED 1500 LUM MIN | 4000K | DIMMING 0-10V (1%) | 25 VA | 8 | 8
D7 | PRE-PAINTED WHITE ALUMINUM HOUSING, PRE-WIRED J-BOX, TWO 27" HANGER BARS, IP66 | 6" ROUND DOWNLIGHT - WET LOCATION | 120/277 | RECESSED GYP-BOARD AND/OR LAY-IN GRID INVERTED TEE | LED 1500 LUM MIN | 4000K | DIMMING 0-10V (1%) | 25 VA | 1 | 1
E3 | WHITE FINISH, DIE-CAST ALUMINUM CONSTRUCTION, UNIVERSAL FACEPLATE KIT, MOUNTING PER FLOOR PLAN. AC ONLY UL924 | EXIT SIGN, SINGLE FACE, DIECAST, AC ONLY | 120/277 | RECESSED | LED | RED | N/A | 5 VA | 4 | 4
E4 | WHITE FINISH, DIE-CAST ALUMINUM CONSTRUCTION, UNIVERSAL FACEPLATE KIT, MOUNTING PER FLOOR PLAN. AC ONLY UL924 | EXIT SIGN, DOUBLE FACE, DIECAST, AC ONLY | 120/277 | RECESSED | LED | RED | N/A | 5 VA | 3 | 3
L5 | CONTINUOUS WHITE ALUMINUM HOUSING | 4" X 6' RECESSED LINEAR | 120/277 | LAY-IN GRID INVERTED TEE | LED 250 LUM/FT | 4000K | DIMMING 0-10V (10%) | 20 VA/FT | 3 | 3
U2 | SOLID FRONT, WHITE FINISHED. | 2' UNDER CABINET LIGHT | 120/277 | UNDER CABINET | LED 800 LUM MIN | 4000K | NON-DIMMING | 9 VA | 2 | 2
U3 | SOLID FRONT, WHITE FINISHED. | 3' UNDER CABINET LIGHT | 120/277 | UNDER CABINET | LED 1200 LUM MIN | 4000K | NON-DIMMING | 19 VA | 7 | 7
U4 | SOLID FRONT, WHITE FINISHED. | 4' UNDER CABINET LIGHT | 120/277 | UNDER CABINET | LED 1600 LUM MIN | 4000K | NON-DIMMING | 31 VA | 4 | 4
Key Notes Summary
# | Key Note Text | Total
1 | CONNECT TO EXISTING CIRCUIT. UNDER THE LAWS OF THE STATE OF MINNESOTA. | 6
2 | BASE BID: NO DEMOLITION OR NEW WORK ASSOCIATED WITH SPACE OUTLINED SINGLE DASH LINES. SPACE AND LIGHTING ARE EXISTING WILLIAM E. EVANS, PE ADD ALTERNATE #1: PROPOSED AREA OF SPACE REMODEL OUTLINED BY SINGLE-DASHED LINE. PERFORM DEMO AND NEW DATE 11- 2 5 -2025 LIC. NO. 42386 WORK AS SHOWN. THE ARCHITECT SHALL BE DEEMED THE AUTHORS AND | 1
3 | BASE BID: NO DEMOLITION OR NEW WORK ASSOCIATED WITH SPACE OWNERS OF THEIR RESPECTIVE INSTRUMENTS OF OUTLINED SINGLE DASH LINES. SPACE AND LIGHTING ARE EXISTING SERVICE AND SHALL RETAIN ALL COMMON LAW, STATUTORY AND OTHER RESERVED RIGHTS, ADD ALTERNATE #2: PROPOSED AREA OF SPACE REMODEL INCLUDING COPYRIGHTS OF THE ATTACHED OUTLINED BY SINGLE-DASHED LINE. PERFORM DEMO AND NEW WORK AS SHOWN. DUNHAM PROJECT NUMBER: 0425232-000-00 HCMC HISTOLOGY LAB HCMC PURPLE BUILDING | 1

## Key Notes Inventory
Keynote # | Keynote Text | E200 | Total
1 | CONNECT TO EXISTING CIRCUIT. UNDER THE LAWS OF THE STATE OF MINNESOTA. | 6 | 6
2 | BASE BID: NO DEMOLITION OR NEW WORK ASSOCIATED WITH SPACE OUTLINED SINGLE DASH LINES. SPACE AND LIGHTING ARE EXISTING WILLIAM E. EVANS, PE ADD ALTERNATE #1: PROPOSED AREA OF SPACE REMODEL OUTLINED BY SINGLE-DASHED LINE. PERFORM DEMO AND NEW DATE 11- 2 5 -2025 LIC. NO. 42386 WORK AS SHOWN. THE ARCHITECT SHALL BE DEEMED THE AUTHORS AND | 1 | 1
3 | BASE BID: NO DEMOLITION OR NEW WORK ASSOCIATED WITH SPACE OWNERS OF THEIR RESPECTIVE INSTRUMENTS OF OUTLINED SINGLE DASH LINES. SPACE AND LIGHTING ARE EXISTING SERVICE AND SHALL RETAIN ALL COMMON LAW, STATUTORY AND OTHER RESERVED RIGHTS, ADD ALTERNATE #2: PROPOSED AREA OF SPACE REMODEL INCLUDING COPYRIGHTS OF THE ATTACHED OUTLINED BY SINGLE-DASHED LINE. PERFORM DEMO AND NEW WORK AS SHOWN. DUNHAM PROJECT NUMBER: 0425232-000-00 HCMC HISTOLOGY LAB HCMC PURPLE BUILDING | 1 | 1

## QA Report
MEDINA QA REPORT
Overall Confidence | 98.0% | PASSED
Threshold | 95%
Stage Scores
Sheet Index Discovery | 100.0%
Schedule Extraction | 100.0%
Fixture Counting | 95.0%
Keynote Extraction | 100.0%
Warnings
Fixture C4: found only 1 time — verify
Fixture D7: found only 1 time — verify
Fixture QA Details
Code | Confidence | Flags | Notes
A1 | 100%
A6 | 100%
B1 | 100%
B6 | 100%
C4 | 100%
D6 | 100%
D7 | 100%
E3 | 100%
E4 | 100%
L5 | 100%
U2 | 100%
U3 | 100%
U4 | 100%
A1 | 95% | ambiguous_code_match | Short code may match room labels or other text
A6 | 95% | ambiguous_code_match | Short code may match room labels or other text
B1 | 95% | ambiguous_code_match | Short code may match room labels or other text
B6 | 95% | ambiguous_code_match | Short code may match room labels or other text
C4 | 95% | ambiguous_code_match | Short code may match room labels or other text; Only 1 instance — verify count
D6 | 95% | ambiguous_code_match | Short code may match room labels or other text
D7 | 95% | ambiguous_code_match | Short code may match room labels or other text; Only 1 instance — verify count
E3 | 95% | ambiguous_code_match | Short code may match room labels or other text
E4 | 95% | ambiguous_code_match | Short code may match room labels or other text
L5 | 95% | ambiguous_code_match | Short code may match room labels or other text
U2 | 95% | ambiguous_code_match | Short code may match room labels or other text
U3 | 95% | ambiguous_code_match | Short code may match room labels or other text
U4 | 95% | ambiguous_code_match | Short code may match room labels or other text