## Fixture Inventory
Type | Description | Fixture Style | Voltage | Mounting | Lumens | CCT | Dimming | Max VA | FE10691-010 | FE10691-011 | Total
AL1 | HIGHBAY INDUSTRIAL CORROSION RESISTANT LUMINAIRE, YOKE MOUNTED, 30 DEGREE TILT, NEMA 4X WET LOCATION UL LISTED |  | MVOLT | YOKE | 18000 lm |  |  | 118W-LED | 3 | 0 | 3
AL1E | HIGHBAY INDUSTRIAL CORROSION RESISTANT LUMINAIRE, YOKE MOUNTED, 30 DEGREE TILT, NEMA 4X WET LOCATION UL LISTED WITH EMERGENCY OPTION |  | MVOLT | YOKE | 18000 lm |  |  | 118W-LED | 3 | 0 | 3
AL2 | FULLY GASKETED, POLYCARBONATE NEMA 4X HOUSING, 80CRI, 4000K, 0-10V DIMMING |  | 120V | WALL | 8067 lm | 4000K | 0-10V DIMMING | 46W-LED | 0 | 0 | 0
AL2E | FULLY GASKETED, POLYCARBONATE NEMA 4X HOUSING, 80CRI, 4000K, 0-10V DIMMING INTEGRAL EMERGENCY BATTERY PACK |  | 120V | WALL | 8067 lm | 4000K | 0-10V DIMMING | 46W-LED | 6 | 0 | 6
AL3 | DIE-FORMED WITH PRE-PAINTED STEEL NEMA 4X HOUSING WITH DEEP FROSTED ACRYLIC SHIELDING, 80CRI, 4000K, 0-10V DIMMING |  | 120V | PENDANT | 4000 lm | 4000K | 0-10V DIMMING | 32W-LED | 0 | 3 | 3
AL3E | DIE-FORMED WITH PRE-PAINTED STEEL NEMA 4X HOUSING WITH DEEP FROSTED ACRYLIC SHIELDING, 80CRI, 4000K, 0-10V DIMMING WITH INTEGRAL EMERGENCY BATTERY PACK |  | 120V | PENDANT | 4000 lm | 4000K | 0-10V DIMMING | 32W-LED | 0 | 1 | 1
AL4 | FULLY GASKETED, POLYCARBONATE NEMA 4X HOUSING, 80CRI, 4000K, 0-10V DIMMING |  | 120V | PENDANT | 8067 lm | 4000K | 0-10V DIMMING | 46W-LED | 6 | 0 | 6
AL4E | FULLY GASKETED, POLYCARBONATE NEMA 4X HOUSING, 80CRI, 4000K, 0-10V DIMMING INTEGRAL EMERGENCY BATTERY PACK |  | 120V | PENDANT | 8067 lm | 4000K | 0-10V DIMMING | 46W-LED | 3 | 0 | 3
AL5 | DIE CAST ALUMINUM BACK PLATE WITH A THERMAL SHOCK RESISTANT FROSTED GLASS, 400K, MINIMUM OF 70CRI, 120 TO 277V, NEUTRAL WHITE OF NKIO GENERATION & SUITABLE FOR SUBMERSIBLE APPLICATIONS |  | 120V | WALL | 1360 lm | 4000K |  | 14W-LED | 0 | 0 | 0
SL1 | BOLLARD LIGHT, IP66 SEALED ASSEMBLY, 7C2 LED LIGHT ENGINE, HIGH IMPACT CLEAR ACRYLIC LENS WITH WELDED TOP CAP, 80CRI, PHOTOELECTRIC OPTION WITH EMERGENCY BACKUP |  | MVOLT |  | 859 lm |  |  | 19W-LED | 0 | 0 | 0
WL1E | DE-CAST ALUMINUM HOUSING WITH TEMPERED GLASS LENS, FULLY GASKETED, TEXTURED DARK BRONZE, WALL PACK WITH EMERGENCY BATTERY PACK |  | MVOLT | WALL | 9859 lm |  |  | 50W-LED | 3 | 1 | 4
WL2 | DIE CAST ALUMINUM HOUSING, SILICONE SEALED OPTICAL LED CHAMBER, 0-10V DIMMABLE DRIVER IS STANDARD WITH LEADS EXTERNAL TO THE FIXTURE WITH OPTIONAL INTEGRAL, COLD WEATHER BATTERY EMERGENCY EGRESS WITH PHOTOCELL CONTROLLED |  | 120V | WALL | 4000 lm |  | 0-10V DIMMING | 34W-LED | 0 | 0 | 0
WL2E | DIE CAST ALUMINUM HOUSING, SILICONE SEALED OPTICAL LED CHAMBER, 0-10V DIMMABLE DRIVER IS STANDARD WITH LEADS EXTERNAL TO THE FIXTURE WITH OPTIONAL INTEGRAL, COLD WEATHER BATTERY EMERGENCY EGRESS WITH PHOTOCELL CONTROLLED |  | 120V | WALL | 4000 lm |  | 0-10V DIMMING | 34W-LED | 0 | 0 | 0
EX1 | NEMA 4X WET LOCATION UL LISTED EXIT SIGN WITH DIE CAST ALUMINUM HOUSING, SINGLE FACE SELF POWERED, WITH RED LETTERS, WHITE FINISH, NICKEL CADMIUM BATTERY WITH SELF DIAGNOSTICS |  | 120V | WALL |  |  |  | 3.3W-LED | 2 | 1 | 3
Key Notes Summary
FE10691-010 | Key Note Text | Total
1 | WALL MOUNT TYPES 'AL2' & 'AL2E' LIGHTING FIXTURE AT 10'-0" AFF UNLESS NOTED OTHERWISE. | 1
2 | WALL MOUNT EXIT LIGHT FIXTURE TYPE 'EX1' AT 0'-6" ABOVE THE DOOR UNLESS OTHERWISE NOTED. | 1
3 | WALL MOUNT LIGHT FIXTURE TYPE 'WL1E' AT 0'-6" ABOVE THE DOOR UNLESS OTHERWISE NOTED. | 1
4 | PENDANT MOUNT TYPE 'AL4' LIGHTING FIXTURE AT 9'-9" AFF UNLESS NOTED OTHERWISE. | 1
5 | WALL MOUNT LIGHT FIXTURE TYPE 'AL1' AND 'AL1E' AT 10'-0" AFF UNLESS OTHERWISE NOTED. | 1
FE10691-011
1 | PENDANT MOUNT TYPES 'AL3' & 'AL3E' LIGHTING FIXTURE AT 9'-6" AFF UNLESS NOTED OTHERWISE. | 1
2 | WALL MOUNT EXIT LIGHT FIXTURE TYPE 'EX1' AT 0'-6" ABOVE THE DOOR UNLESS OTHERWISE NOTED. | 1
3 | WALL MOUNT TYPE 'WL1' LIGHT FIXTURE AT 1'-0" ABOVE THE DOOR UNLESS OTHERWISE NOTED. | 1
4 | ACCESS CONTROL PANEL IS FURNISHED BY OTHERS. CONTRACTOR TO INSTALL PANEL. | 1
5 | XFMR WALL-MOUNTED ABOVE LP-1. | 1

## Key Notes Inventory
Keynote # | Keynote Text | FE10691-010 | FE10691-011 | Total
1 | WALL MOUNT TYPES 'AL2' & 'AL2E' LIGHTING FIXTURE AT 10'-0" AFF UNLESS NOTED OTHERWISE. | 2 | 0 | 2
2 | WALL MOUNT EXIT LIGHT FIXTURE TYPE 'EX1' AT 0'-6" ABOVE THE DOOR UNLESS OTHERWISE NOTED. | 1 | 0 | 1
3 | WALL MOUNT LIGHT FIXTURE TYPE 'WL1E' AT 0'-6" ABOVE THE DOOR UNLESS OTHERWISE NOTED. | 1 | 0 | 1
4 | PENDANT MOUNT TYPE 'AL4' LIGHTING FIXTURE AT 9'-9" AFF UNLESS NOTED OTHERWISE. | 1 | 0 | 1
5 | WALL MOUNT LIGHT FIXTURE TYPE 'AL1' AND 'AL1E' AT 10'-0" AFF UNLESS OTHERWISE NOTED. | 1 | 0 | 1
1 | PENDANT MOUNT TYPES 'AL3' & 'AL3E' LIGHTING FIXTURE AT 9'-6" AFF UNLESS NOTED OTHERWISE. | 0 | 4 | 4
2 | WALL MOUNT EXIT LIGHT FIXTURE TYPE 'EX1' AT 0'-6" ABOVE THE DOOR UNLESS OTHERWISE NOTED. | 0 | 1 | 1
3 | WALL MOUNT TYPE 'WL1' LIGHT FIXTURE AT 1'-0" ABOVE THE DOOR UNLESS OTHERWISE NOTED. | 0 | 1 | 1
4 | ACCESS CONTROL PANEL IS FURNISHED BY OTHERS. CONTRACTOR TO INSTALL PANEL. | 0 | 1 | 1
5 | XFMR WALL-MOUNTED ABOVE LP-1. | 0 | 2 | 2

## QA Report
MEDINA QA REPORT
Overall Confidence | 86.5% | FAILED
Threshold | 95%
Stage Scores
Sheet Index Discovery | 85.0%
Schedule Extraction | 96.8%
Fixture Counting | 74.3%
Keynote Extraction | 100.0%
Warnings
Fixture AL2: found 0 times on all plans
Fixture AL3E: found only 1 time — verify
Fixture AL5: found 0 times on all plans
Fixture SL1: found 0 times on all plans
Fixture WL2: found 0 times on all plans
Fixture WL2E: found 0 times on all plans
No sheet index found — relying on fallback
Recommendations
Overall confidence below threshold — review flagged items
Consider running --use-vision to cross-check text counts
Fixture QA Details
Code | Confidence | Flags | Notes
AL1 | 95% | missing_schedule_cols | Missing columns: cct
AL1E | 95% | missing_schedule_cols | Missing columns: cct
AL2 | 100%
AL2E | 100%
AL3 | 100%
AL3E | 100%
AL4 | 100%
AL4E | 100%
AL5 | 100%
SL1 | 90% | missing_schedule_cols | Missing columns: mounting, cct
WL1E | 95% | missing_schedule_cols | Missing columns: cct
WL2 | 95% | missing_schedule_cols | Missing columns: cct
WL2E | 95% | missing_schedule_cols | Missing columns: cct
EX1 | 90% | missing_schedule_cols | Missing columns: lumens, cct
AL1 | 100%
AL1E | 100%
AL2 | 70% | fixture_not_on_plan | Not found on any plan page
AL2E | 100%
AL3 | 100%
AL3E | 100% |  | Only 1 instance — verify count
AL4 | 100%
AL4E | 100%
AL5 | 70% | fixture_not_on_plan | Not found on any plan page
SL1 | 70% | fixture_not_on_plan | Not found on any plan page
WL1E | 100%
WL2 | 70% | fixture_not_on_plan | Not found on any plan page
WL2E | 70% | fixture_not_on_plan | Not found on any plan page
EX1 | 100%