# Requirement Understanding

## 1. Objective

The objective of this system is to automatically extract and generate a lighting fixture inventory from engineering drawing PDFs by identifying and analyzing Luminaire / Light Schedules and relevant drawing index pages.

The system should locate relevant schedule pages, extract fixture types, and count their occurrences across the entire set of engineering drawings.

Additionally, the system must analyze the Key Notes section (typically located at the top-right corner of drawing pages) to determine if any additional relevant fixture-related information needs to be extracted.

## 2. Input Documents

The input will consist of construction drawing PDFs containing:

- Electrical Sheet Index / Drawing Index (optional)

- Luminaire Schedule / Light Fixture Schedule

- Electrical Layout Drawings (Lighting, Power, Systems, etc.)

- Drawing pages containing a Key Notes section (top-right corner)

These documents may use different naming conventions and sheet numbering formats depending on the project.

## 3. Identification of Luminaire / Light Schedule Pages

### 3.1 Sheet Index Detection

The system must first locate pages that act as:

- Electrical Sheet Index

- Electrical Drawing Index

- Schedules Index

These pages typically contain:

Keywords such as:

- Luminaire Schedule

- Light Fixture Schedule

- Lighting Schedule

- Fixture Schedule

⚠ The system must ignore:

- Electrical Schedule

- Panel Schedule

- Motor Schedule

- Equipment Schedule

- Any other non-lighting schedule

Index pages may contain table rows mapping sheet numbers such as:

- E401, E500, E600, E601, etc.

## 4. Navigation to Luminaire / Light Schedule Sheets

Once lighting-related sheet numbers are identified (e.g., E600, E601, E602), the system must navigate to those corresponding pages in the PDF and analyze their tabular content.

These pages may contain multiple tables such as:

- Light Fixture Schedule

- Luminaire Schedule

- Lighting Schedule

The system must ignore any other schedule tables present on the same page.

## 5. Target Tables for Extraction

From the schedule pages, the system should only consider:

- Light Fixture Schedule

- Luminaire Schedule

- Lighting Schedule

- Lighting control device

The system must ignore:

- Electrical schedules

- Motor schedules

- Panel schedules

- Equipment schedules

- Floor box schedules

## 6. Fixture Type Extraction

Within the selected lighting schedule tables, the system must identify the column that represents:

- Type

- Fixture

- Symbol

- Tag

This column typically contains values such as:

- A1

- A1R

- B2

- L3

- etc.

These fixture codes uniquely define each lighting fixture type.

## 7. Cross-Sheet Fixture Counting

After extracting fixture types from the lighting schedule tables:

- The system must scan all electrical drawing pages in the same document (e.g., Lighting Plans, Reflected Ceiling Plans, Power Plans if relevant to lighting symbols).

- It must detect and count occurrences of each extracted fixture type (e.g., A1, A1R).

- The system must analyze the Key Notes section (top-right corner of drawing pages) to determine:

  - If fixture codes are referenced

  - If additional annotations, modifiers, or installation notes are associated with specific fixture types

  - If extra data needs to be extracted and linked to fixture types

- All counts must be aggregated across the full document set.

## 8. Output

The final output must be an inventory table containing:

- Fixture Type (e.g., A1, A1R)

- Total Count

- Source Document

- Source Schedule Sheet (e.g., E600)

- Any additional extracted Key Notes reference (if applicable)

### Example Output Format:

| Fixture Type | Count | Schedule Sheet | Key Notes Reference |
| --- | --- | --- | --- |
| A1 | 24 | E600 | KN-03 |
| A1R | 12 | E600 | - |
| B2 | 8 | E601 | KN-07 |

## 9. Key Constraints & Assumptions

- Sheet numbering may vary by project (E400, E500, E600, etc.).

- Schedule table formats may differ between documents.

- Column headers may vary (Type, Fixture, Symbol, Tag).

- Only fixtures listed in Luminaire / Light schedules should be counted.

- Electrical schedules and other non-lighting schedules must be ignored.

- Counts must be derived from engineering drawings within the same PDF.

- Key Notes are typically located in the top-right section of drawing pages but may vary slightly by layout.

## 10. Functional Scope

### In Scope:

- Detection of schedule index pages

- Detection of Luminaire / Light schedule tables

- Extraction of fixture types

- Cross-page counting

- Key Notes section analysis

- Inventory generation